## Slide 1: LECTURE 13. The Grid and California’s Energy Mix
Steven Weissman 02/22/16

## Slide 2: Why electricity?

## Slide 3: U.S. Air Pollution:
More Than 1/3
3,000
Power Plants
15% from 20 plants
50% from 100 plants
90% from 300 plant
About 1/3
200 million Cars & Trucks
Less Than 1/3
2 Billion
Other Sources
Notes: 3

## Slide 4
US CO2 emissions: electricity production

## Slide 5
US CO2 emissions: electricity production

## Slide 6
Source: California Air Resources Board

## Slide 8
Generation Mix Variations by State
(Climate Central 2012)

## Slide 9: Regional Fuel Differences
9
Notes: 9

## Slide 10: Where Does California Rank?
Source: Energy Information Administration 2016

## Slide 13: Deep Decarbonization’s Three Steps
Pathways to Deep Decarbinization in the U.S. 2015

## Slide 14
14
The Grid
Notes: 14

## Slide 15: The Grid – What Is It?

## Slide 16: Generation

## Slide 17: What a Generator Does

## Slide 19: Playing Pool

## Slide 20: What is a Kilowatt Hour?
20
The
power needed
to light 10
40 inch LED TVs for one hour
Notes: 20

## Slide 21: What is a Kilowatt Hour?
21
The
power needed
to light 10
40 LED TVs
for one hour
Notes: 21

## Slide 22: What is a megawatt?
1,000 kilowatts

## Slide 23: What is a gigawatt?
1,000 megawatts

## Slide 24: How much electricity did the U.S. consume in 2007?
Four million gigawatt hours
1,000 watt hours X 1,000 X 1,000 X 1,000,000 X 4
= 4,000,000,000,000,000 kwh, or more than
4.5 billion flat screen TVsburning all day and night
or about 13 TVs per person

## Slide 25: Consider: AT&T Park
Notes: 25

## Slide 26: Consider: AT&T Park
. . . 460,000 AT&T Parks
Notes: 26

## Slide 27: Consider: AT&T Park
460,000 AT&T Parks
= 460 GW of installed capacity running all day and night

## Slide 28: California Electricity Use
295,000 GWHs (2006)
Peak Demand: 64 GWs (200^)

## Slide 29: California: 295,000 GWHs
If max used 24/7: 33 Gigawatts
Peak demand: 64 Gigawatts

## Slide 30
Chart: U.S. Residential Sector Energy Consumption by End Use 2011 (in quadrillion Btu)
| refrigeration | space cooling | space heating | water heating | lighting | TV | computers | clothes dryers | cooking | dishwashers
Series 1 | 1.2 | 2.9 | 5.3 | 2.9 | 2 | 1 | 0.5 | 0.7 | 0.6 | 0.3
Column1
Column2
Source: EIA Annual Energy Outlook 2013 Early Release

## Slide 31: Gas Turbine

## Slide 32: Steam Turbine

## Slide 33: Combined Cycle

## Slide 34
U.S. EIA 2013

## Slide 35: Transmission Lines
DC Line
AC Line
Transmi

## Slide 38: Substations

## Slide 47: Managing the Grid

## Slide 48: Central Dispatch

## Slide 49
Chart: U.S. Electricity Net Generation 2014
| coal | petroleum | natural gas | nuclear | pumped storage | renewables
Column1
Column2
Source: EIA

## Slide 50
?